1. Health and safety in building services engineering

# Worksheet 10: What to do in unsafe situations (tutor)

- List the unsafe situations that could occur in a construction setting.

  - Fire

  - Gas leak

  - Terrorist threats

  - Water leaks

  - Carbon monoxide leak

  - Electric shock

- Complete the table below matching the correct colours of fire extinguisher to the type of fire retardant they contain.

| Type | Label Colour |
| --- | --- |
| Water | Red |
| Foam | Cream |
| Carbon dioxide | Black |
| Dry powder | Blue |

- Which types of extinguisher can be used on an electrical fire?

Dry powder or carbon monoxide

- List three symptoms of carbon monoxide poisoning.

Headaches, dizziness, nausea, breathlessness, collapse, loss of consciousness

- A gas engineer could class unsafe installations as either ID or AR. What do these initials stand for?

- Installation deficient and at risk

- Immediately dangerous (ID) and at risk (AR)

- Instantly dangerous or ask regulator