1. Health and safety in building services engineering

# Worksheet 6: Safe isolation of systems (learner)

- When isolating a cold water supply both hot and cold water supplies can be isolated using the:

- Stop valve

- Gate valve

- Isolation valve

- Mixer valve

- After isolation of any system, what should be displayed at the isolation point?

- Isolation instructions

- Checklist

- Warning notice

- Maintenance schedule

- What does the ECV stand for in a gas supply?

- Extra control valve

- Emergency control valve

- End closing valve

- Ever constant valve

- What piece of testing equipment must be used when safely isolating an electrical supply?

- Light bulb

- Approved voltage indicating device

- Electrical screwdriver

- Continuity tester

- What should you check before isolating any system?

- That it is OK to do so

- There is enough water in the kettle

- There is credit in the gas meter

- The electrical meter is working