12. Building services engineering (BSE) systems

# Worksheet 9: Refrigeration systems (learner)

- List four required properties of a refrigerant.

- Fill in the blanks with either high or low pressure to explain how a compression cycle works.

The compression cycle is a system of four quadrants. 1) gas/liquid at _______ pressure; 2) gas at _______ pressure; 3) gas at ________ pressure; and 4) liquid at _______ pressure.

- Add these labels to this diagram of the vapour compression cycle:

compressor, condenser, evaporator, expansion device