12. Building services engineering (BSE) systems

# Multiple choice questions (tutor)

| 1. | Why is copper tube ideal for hydronic systems? |  |
| --- | --- | --- |
|  | a. | It is very strong |
|  | b. | It comes in a wide range of sizes |
|  | c. | It has a very smooth internal surface |
|  | d. | It is easy to bend |

| 2. | The cold water service pipe to a building must be buried underground to a minimum recommended depth of: |  |
| --- | --- | --- |
|  | a. | 750mm |
|  | b. | 900mm |
|  | c. | 650mm |
|  | d. | 700mm |

| 3. | The conductor intended to protect electrical installations is referred to as the: |  |
| --- | --- | --- |
|  | a. | Switched live conductor |
|  | b. | Phase conductor |
|  | c. | Neutral conductor |
|  | d. | Circuit protective conductor |

| 4. | Rigid ductwork is made from: |  |
| --- | --- | --- |
|  | a. | Aluminium |
|  | b. | Plastic |
|  | c. | Low carbon steel |
|  | d. | Copper |

| 5. | The gas supply to a building is controlled by a device referred to as a: |  |
| --- | --- | --- |
|  | a. | Gas cock |
|  | b. | Service control valve |
|  | c. | Main gas cock |
|  | d. | Gate valve |

| 6. | In an AC system, what is the maximum percentage of extracted air that can be recirculated? |  |
| --- | --- | --- |
|  | a. | 70% |
|  | b. | 25% |
|  | c. | 100% |
|  | d. | 15% |

| 7. | Fittings used to joint plastic pipe are push-fit and incorporate a: |  |
| --- | --- | --- |
|  | a. | ‘D’ ring and grab ring |
|  | b. | Friction ring washer |
|  | c. | ‘O’ ring and grab ring |
|  | d. | Compression ring |

| 8. | The output of most alternators is: |  |
| --- | --- | --- |
|  | a. | 30,000V (30kV) |
|  | b. | 2,300V (25kV) |
|  | c. | Not measured |
|  | d. | 25,000V (25kV) |

| 9. | Pipeline components that are used to control the flow of fluids are referred to as: |  |
| --- | --- | --- |
|  | a. | Restrictors |
|  | b. | Compressors |
|  | c. | Valves |
|  | d. | Impeders |

| 10. | Which is the most commonly used pipework system in commercial heating installations? |  |
| --- | --- | --- |
|  | a. | One pipe |
|  | b. | Three pipe |
|  | c. | Four pipe |
|  | d. | Two pipe |

| 11. | Which component in an AC plant is used to dehumidify the supply air? |  |
| --- | --- | --- |
|  | a. | Pre-heating coil |
|  | b. | Air washer |
|  | c. | Cooling coil |
|  | d. | Steam injector |

| 12. | The operating pressure of a gas appliance is set and maintained by a device known as a: |  |
| --- | --- | --- |
|  | a. | Service governor |
|  | b. | Pressure reducing valve |
|  | c. | Relay valve |
|  | d. | Constant pressure governor |

| 13. | What component is crucial for a compensated heating system to function correctly? |  |
| --- | --- | --- |
|  | a. | Three-port mixing valve |
|  | b. | Three-port diverting valve |
|  | c. | Two-port on/off valve |
|  | d. | Double regulating valve |

| 14. | The neutral conductor in fixed cable installations is identifiable by the insulation being coloured: |  |
| --- | --- | --- |
|  | a. | Blue |
|  | b. | Brown |
|  | c. | Yellow and green |
|  | d. | Red |

| 15. | Unvented hot water storage cylinders are supplied as a complete unit containing all the: |  |
| --- | --- | --- |
|  | a. | Usual connections for pipes |
|  | b. | Mandatory safety devices |
|  | c. | Necessary BS numbers |
|  | d. | Fixing instructions |

| 16. | In a sealed heating system an important safety device which prevents excessive force within is called: |  |
| --- | --- | --- |
|  | a. | An open-vent pipe |
|  | b. | An automatic air vent |
|  | c. | An expansion vessel |
|  | d. | A pressure relief valve |

| 17. | Which component in a vapour refrigeration system increases the pressure of the refrigerant? |  |
| --- | --- | --- |
|  | a. | Expansion valve |
|  | b. | Evaporator |
|  | c. | Condenser |
|  | d. | Compressor |
| 18. | An operational technology network is more commonly known as: |  |
|  | a. | Wi-fi |
|  | b. | A building energy management system (BEM) |
|  | c. | A virtual private network (VPN) |
|  | d. | A wide area network (WAN) |

| 19. | When a building is naturally ventilated by cooler external air displacing warmer internal air, this is referred to as the: |  |
| --- | --- | --- |
|  | a. | Wind effect |
|  | b. | Suction effect |
|  | c. | Stack effect |
|  | d. | Dynamic effect |
| 20. | Which of the following is not a type of earthing arrangement? |  |
|  | a. | TN-S |
|  | b. | TN-C-S |
|  | c. | TN-SC |
|  | d. | TT |