# 13. Maintenance principles

# Worksheet 3: Maintenance, plans and recommended timeframes (learner)

What does the acronym PPM stand for?

- Personal protective maintenance

- Personal protection and maintenance

- Planned preventative maintenance

- Planned protection maintenance

What is the name of any maintenance that is not planned?

- Reactive

- Proactive

- Prepared

- Scheduled

What is beneficial for larger BSE systems?

- Servicing schedule

- Maintenance schedule

- Repair plan

- Fault-finding scheme

Gas appliances and systems must be checked by a Gas Safe registered engineer every

- 3 months

- 6 months

- 9 months

- 12 months

Which of the following would require reactive maintenance?

- Cleaning cold water cisterns

- Setting water levels

- Burst pipe

- Checking the operation of switches