2: Construction science principles

# Worksheet 15: Dead and live loads (tutor)

The buildings that we live, work and socialise in have to carry the following loads:

- dead

- imposed or live.

Investigate where these loads exist within your current building and answer the following questions.

- Define dead, imposed/live loads.

| Dead load | A dead load is the weight of the structure itself, eg the self-weight of walls, floors, beams, etc. |
| --- | --- |
| Imposed load/live load | A live (or imposed) load consists of all the extra loads which are placed on the structure, such as people, furniture and machines, as a result of the building being occupied. These loads move around and change frequently. |

- What loads are the concrete foundations supporting?

Axial loads are transferred from columns down into the foundations; external walls transfer loads from floors and roofs down into the foundations.

- How are the loads from furniture and occupation transferred to the supports?

Floors (floor joists) take the initial load. These sit on external walls which transmit the load to the foundations.