4: Construction and the built environment industry

# Worksheet 13: Procedures for handing over projects to clients (tutor)

Write a short paragraph describing the purpose of recognised handover procedures.

To make the transition between the contractor completing the project and the client beginning occupation and use of the building as smooth as possible.

Alternative similar content is acceptable at tutor/trainer discretion.

Who is responsible for setting up insurance for a building after handover?

Client /occupier.

What is the term used at handover to describe the end of the construction phase?

Close-out.

List two things in a completed project for which the client should be provided with testing and commissioning documents.

- Lifts.

- Escalators.

- Boilers.

- Access equipment.

Any two of the above.

Write a paragraph to explain what ‘snagging’ is and when it is undertaken.

‘Snagging’ is the term used to identify and rectify faults and flaws in the building. This is an ongoing process throughout the construction phase with a final round of snagging before handover.

Alternative similar content is acceptable at tutor/trainer discretion.

Write a short explanation of what ‘soft landings’ means.

Removes the ‘bumps’ that can occur in the transition period and after-care arrangements, to ensure operational performance of the building is optimised for the users.

Alternative similar content is acceptable at tutor/trainer discretion.

When is the client operation team formed and what does it do?

It is formed at the handover stage, and it ensures the new building is equipped as designed and operating as planned.

Alternative similar content is acceptable at tutor/trainer discretion.