5. Sustainability principles

# Worksheet 18: Energy production (tutor)

Put the following list of options in the correct category:

- Combined cooling heat and power

- Heat pumps

- Electricity – wind

- Electricity (from non-renewable sources)

- Combined heat and power (CHP)

- Natural gas/LPG

- Fuel oils – solid fuels (coal and peat)

- Solar thermal

- Electricity – tidal

- Solid fuel (biomass)

- Hydroelectric

- Solar PV

| High carbon | Low carbon | Zero carbon |
| --- | --- | --- |
| - Natural gas/LPG - Fuel oils – solid fuels (coal and peat) | - Solar thermal - Solid fuel (biomass) - Heat pumps - Electricity (from non-renewable sources) - Combined heat and power (CHP) - Combined cooling heat and power | - Electricity – wind - Electricity – tidal - Hydroelectric - Solar PV |