7. Building technology principles

# Worksheet 10: Superstructure elements chart (tutor)

| Element | Function | Domestic | Commercial |
| --- | --- | --- | --- |
| Walls | Walls can be categorised as internal or external Walls support roofs, floors and ceilings. A key element of the building envelope | External: Cavity Solid brick Block Internal: Partitions (timber, metal) Solid brick Solid block | Curtain Parapet Metal partition |
| Floors | Horizontal surface of any space in a building. Provide structural support for contents of a room. Provide resistance to the passage of sound, heat and moisture | Solid Suspended timber | Block and beam Solid |
| Roofs | Protection from the elements contribute to safety, security, privacy and insulation | Truss Traditional cut Hipped | Metal Green |
| Windows | Let light into a room, provide ventilation and prevent mould. Remove stale air and prevent condensation | PVC Timber Bay Sash | Vinyl Aluminium Composite wood |
| Doors | Internal doors provide access and egress to a room or space in a building, help reduce noise and provide privacy. External doors provide protection from the elements and prevent intrusion | Composite PVC Sliding patio Timber | Revolving Steel |