7. Building technology principles

# Worksheet 5: Construction methods (learner)

- Provide a definition for each of the terms listed below.

Residential construction

Commercial construction

Industrial construction

- Explain what is meant by the term prefabrication.

- List four advantages of using prefabrication.

- Describe the elements of a steel frame system.

- Explain when brick and block construction is most commonly used in industry.

- List three possible disadvantages of using the straw bale method of construction.

- Describe what is meant by the term structural changes.

- Explain the importance of building maintenance and the issues that may occur if a building is not properly maintained.

- Explain what is meant by the term modern construction methods.

- Explain how precast concrete structures are produced.

- List three advantages of using modular construction.

- List two disadvantages of using 3-D printing systems in the industry.

- Give two examples of how self-driving vehicles can be used during the construction process.

- Briefly explain the difference between structural and cosmetic renovations.

- Provide three examples of how drones can be used in construction.