8. Construction information and data principles

# Worksheet 3: Data (ii) (tutor)

- What are operational costs?

The costs incurred by the day-to-day operation of a building.

- Name three or more ways a digital operational cost monitoring tool assists a building services engineer.

- Producing life cycle costings

- Benchmarking

- Planning

- Budgeting

- Forecasting, estimating and cost control

- Calculating running costs and refurbishment costs

- Comparing component costs

- Select the correct statement:

- Enterprise systems integrate a number of different applications. They can replace several independent systems that may or may not interact with one another.

- Enterprise systems are completely stand-alone, replacing different applications.

- Define the following, with examples.

- Private utility services are produced by a building for its own use.

- Local diesel generators, solar power, wind turbines for electricity and boreholes for water

- Public utilities are services provided directly by companies who are generally the only source for those services.

- Electricity, gas, water, telephone, internet

- Building services are any services provided by the building and not directly from an outside provider.

- Provision of space/rooms, distribution routes, specific access requirements, finishes and building services systems within the spaces

- What are the objectives of a metering strategy?

- Ensure system efficiency

- Collect data for reporting, regulatory compliance and baselining

- Inform design and investment decisions

- Inform infrastructure management

- Provide visibility/usability of energy data

- Give an example of three building services monitored by a BMS, sometimes called a BAS.

- HVAC

- Lighting

- Energy,

- Fire systems (smoke detection and alarms)

- Security systems (CCTV, motion detectors, access controls)

- ICT systems

- Lifts

- Smart meters