3. Construction design principles

# Worksheet 8: Benefits of good design – construction methods (tutor)

- Complete the table below by inserting the traditional methods and modern methods under the correct heading.

| Traditional | Modern |
| --- | --- |
| In situ roofing | Structural insulated panels |
| Solid plastering | Dry wall systems |
| Brick and block | Thin joint systems |

- State the benefits of prefabricated modular construction over traditional onsite construction and installations.

More cost effective; less waste; built in a controlled environment; services can be pre-installed; doors and windows can be pre-fitted; any issues can be addressed before delivery; onsite erection and installation of second fix building services components is quicker.

- Identify the material shown.in this drawing.

Structural insulated panels (SIPs).