5. Essential science for engineering and manufacturing

# Worksheet 4: Measurement (tutor)

- Explain the difference between precision and accuracy.

Answer:

Accuracy – The maximum amount by which the result differs from true value.

Precision – Degree of repetitiveness.

If an instrument is not precise, it will give different results for the same dimension for repeated readings.

- The diagram shows a micrometer scale.

What is the reading shown on the micrometer scale?

  - 7.14 mm.

  - 7.64 mm.

  - 5.64 mm.

  - 7.16 mm.

- The thickness of a small book is measured as 32.2 mm, 54.2 mm, 13.7 mm. What measuring tool could have been used to obtain these readings?

- Metre rule.

- Measuring tape.

- Micrometer screw gauge.

- Vernier calliper.

- Which instrument is used to measure the internal diameter of a pipe with a single measurement?

      - Manometer.

      - Micrometer.

      - Vernier calliper.

      - Measuring cylinder.

- The diagram shows part of a Vernier scale.

What is the reading on the Vernier scale?

- 6.50 cm.

- 7.00 cm.

- 7.45 cm.

- 6.55 cm.

- Which of the following is accurate but not precise?

- C

- A

- D

- B