7. Mechanical principles

# Worksheet 12: Power sources (tutor)

Complete the table to demonstrate your knowledge of different power sources and their respective advantages. Some research will be required.

| - Power source | - Description | - Advantages |
| --- | --- | --- |
| - Solar | - Captures sunlight and converts it to electrical energy | - Sunlight is free |
| - Hydroelectric | - Uses running or falling water to produce electricity or to power machines | - Does not pollute water or air - Renewable, reliable - Can be used with a pumped storage system |
| - Wind | - Wind currents are converted into energy via a gearing system and a generator | - Clean energy source - Renewable and sustainable - Negligible air or water pollution - Turbine manufacturing and installation are the only process steps that emit greenhouse gases - Space efficient - Low operating costs |
| - Biofuel | - Biomass is an organic renewable energy source that includes materials such as agricultural and forest waste, crops, sewage and algae | - Made from different sources - Less pollution than from fossil fuels during burning - Cheaper to produce than fossil fuels - Renewable energy source - Can be produced by any country |
| - Geothermal | - Geothermal energy is heat derived from within the earth’s sub-surface which can be harnessed to generate clean, renewable energy. Water and/or steam carry the geothermal energy to the earth’s surface | - Renewable resource - Less polluting than fossil fuels - Great for heating and cooling - Does not burn fuels - Has small footprint on land - Reliable and predictable source of energy |
| - Electric motor | - An electric motor converts - electrical energy into mechanical energy | - Reliable and predictable source of energy |
| - Internal combustion engine | - Works by igniting fuel (eg petrol) mixed with air inside a chamber | - Mature technology - Reliable |
| - Oil | - Oil is extracted from the ground. We have underground reserves but each time we extract oil, these are depleted | - Mature technology - Reliable |
| - Gas | - Gas is extracted in a similar way to oil. It is non-renewable | - Mature technology - Reliable |
| - Coal | - Coal is mined for fuel, either from the surface or from underground. It is non-renewable | - Abundant and inexpensive - Clean coal technology can remove harmful material before it reaches the environment |
| - Nuclear | - Sustained nuclear fission can generate heat and electricity | - Reliable source of energy - Insignificant carbon emissions - More efficient and reliable than fossil fuels - Low operating costs |