## Slide 1: PowerPoint 10: Automation
PowerPoint presentation
Engineering and manufacturing control systems
10.2 How sensor and actuators are used in automation control systems

## Slide 2: Objectives
By the end of this session learners should be able to:
understand the concept of automation and explain how it is used in control and instrumentation applications.
Notes: Picture shows an infrared sensor system on a production line in parts manufacturing.

## Slide 3: Automation
Automation is the use of technologies to reduce the need for human involvement in processes.
Examples of automation in engineering and manufacturing processes include:
  automatically detecting the position and volume of objects being manufactured or processed
  automated mechanical lifting and moving of objects, such as heavy materials or product parts
  automated measurement of different parameters, such as during quality control (QC).

## Slide 4: Automation of measuring processes
Reducing human involvement in measuring processes is one of the main uses of automation in control and instrumentation applications. For example, automated measuring of:
  electrical signals and parameters (eg current, voltage, resistance)
  outputs of mechanical systems (eg force, velocity, mechanical advantage)
  thermal output signals
  outputs of chemical and biological systems
  optical and acoustic signal characteristics
  different types and levels of radiation.

## Slide 5
Any questions?
‘T-LEVELS’ is a registered trade mark of the Department for Education. ‘T Level’ is a registered trade mark of the Institute for Apprenticeships and Technical Education.